## Format Information
Key
Required
Lookup
Lookup And Required
Format Name: Duke_Lab_EQEDD
Format Version: 1.0.1

## TestResults_v1
#sys_sample_code | lab_anl_method_name | analysis_date | total_or_dissolved | column_number | test_type | lab_matrix_code | analysis_location | basis | container_id | dilution_factor | prep_method | prep_date | leachate_method | leachate_date | lab_name_code | qc_level | lab_sample_id | percent_moisture | subsample_amount | subsample_amount_unit | analyst_name | instrument_id | comment | preservative | final_volume | final_volume_unit | cas_rn | chemical_name | result_value | result_error_delta | result_type_code | reportable_result | detect_flag | lab_qualifiers | validator_qualifiers | interpreted_qualifiers | organic_yn | method_detection_limit | reporting_detection_limit | quantitation_limit | result_unit | detection_limit_unit | tic_retention_time | result_comment | custom_field_2 | custom_field_3 | custom_field_4 | lab_sdg | Errors | Line
OUTFALL 002_2017/10/01_N_668 | EPA 200.8 | 2017/10/03 10:08:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 429045002 |  |  |  | MAO | [5 empty] | 7440-38-2 | ARSENIC, AS | 6.85 |  | TRG | Yes | Y |  |  |  | N |  |  |  | ug/l
OUTFALL 002_2017/10/01_N_669 | EPA 200.8 | 2017/10/03 10:08:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 429045003 |  |  |  | MAO | [5 empty] | 7440-38-2 | ARSENIC, AS | 6.85 |  | TRG | Yes | Y |  |  |  | N |  |  |  | ug/l
OUTFALL 002_2017/10/01_N_670 | EPA 200.8 | 2017/10/03 10:08:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 429045002 |  |  |  | MAO | [5 empty] | 7440-38-2 | ARSENIC, AS | 6.85 |  | TRG | Yes | Y |  |  |  | N |  |  |  | ug/l
OUTFALL 002_2017/10/01_N_662 | SM 5210B | 2017/10/02 12:25:00 | N | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | PRISM_CHAR | QUANT | 10473 |  |  |  | TC | [5 empty] | BOD | BIOCHEMICAL OXYGEN DEMAND | 1 |  | TRG | Yes | Y |  |  |  | N |  |  |  | mg/l
OUTFALL 002_2017/10/01_N_663 | SM 5210B | 2017/10/02 12:25:00 | N | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | PRISM_CHAR | QUANT | 10473 |  |  |  | TC | [5 empty] | BOD | BIOCHEMICAL OXYGEN DEMAND | 1 |  | TRG | Yes | Y |  |  |  | N |  |  |  | mg/l
OUTFALL 002_2017/10/01_N_664 | SM 5210B | 2017/10/02 12:25:00 | N | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | PRISM_CHAR | QUANT | 10473 |  |  |  | TC | [5 empty] | BOD | BIOCHEMICAL OXYGEN DEMAND | 1 |  | TRG | Yes | Y |  |  |  | N |  |  |  | mg/l
OUTFALL 002_2017/10/01_N_662 | EPA 300.0 | 2017/10/02 12:25:00 | N | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 10472 |  |  |  | MAO | [5 empty] | 7726-95-6 | BROMIDE | 3 |  | TRG | Yes | Y |  |  |  | N |  |  |  | mg/l
OUTFALL 002_2017/10/01_N_663 | EPA 300.0 | 2017/10/02 12:25:00 | N | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 10472 |  |  |  | MAO | [5 empty] | 7726-95-6 | BROMIDE | 3 |  | TRG | Yes | Y |  |  |  | N |  |  |  | mg/l
OUTFALL 002_2017/10/01_N_664 | EPA 300.0 | 2017/10/02 12:25:00 | N | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 10472 |  |  |  | MAO | [5 empty] | 7726-95-6 | BROMIDE | 3 |  | TRG | Yes | Y |  |  |  | N |  |  |  | mg/l
OUTFALL 002_2017/10/01_N_668 | EPA 200.8 | 2017/10/03 10:08:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 429045002 |  |  |  | MAO | [5 empty] | 7440-50-8 | COPPER, CU | .0014 |  | TRG | Yes | Y |  |  |  | N |  |  |  | mg/l
OUTFALL 002_2017/10/01_N_669 | EPA 200.8 | 2017/10/03 10:08:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 429045003 |  |  |  | MAO | [5 empty] | 7440-50-8 | COPPER, CU | .0014 |  | TRG | Yes | Y |  |  |  | N |  |  |  | mg/l
OUTFALL 002_2017/10/01_N_670 | EPA 200.8 | 2017/10/03 10:08:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 429045002 |  |  |  | MAO | [5 empty] | 7440-50-8 | COPPER, CU | .0014 |  | TRG | Yes | Y |  |  |  | N |  |  |  | mg/l
OUTFALL 002_2017/10/01_N_662 | EPA 9222D | 2017/10/02 12:25:00 | N | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | PRISM_CHAR | QUANT | 10471 |  |  |  | TC | [5 empty] | Fecal | Fecal Coliform | 4 |  | TRG | Yes | Y |  |  |  | N |  |  |  | Count/100ml
OUTFALL 002_2017/10/01_N_663 | EPA 9222D | 2017/10/02 12:25:00 | N | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | PRISM_CHAR | QUANT | 10471 |  |  |  | TC | [5 empty] | Fecal | Fecal Coliform | 4 |  | TRG | Yes | Y |  |  |  | N |  |  |  | Count/100ml
OUTFALL 002_2017/10/01_N_664 | EPA 9222D | 2017/10/02 12:25:00 | N | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | PRISM_CHAR | QUANT | 10471 |  |  |  | TC | [5 empty] | Fecal | Fecal Coliform | 4 |  | TRG | Yes | Y |  |  |  | N |  |  |  | Count/100ml
OUTFALL 002_2017/10/01_N_668 | EPA 200.8 | 2017/10/03 10:08:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 429045002 |  |  |  | MAO | [5 empty] | 1640424 | HARDNESS (AS CACO3) | 445 |  | TRG | Yes | Y |  |  |  | N |  |  |  | mg/l
OUTFALL 002_2017/10/01_N_669 | EPA 200.8 | 2017/10/03 10:08:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 429045002 |  |  |  | MAO | [5 empty] | 1640424 | HARDNESS (AS CACO3) | 445 |  | TRG | Yes | Y |  |  |  | N |  |  |  | mg/l
OUTFALL 002_2017/10/01_N_670 | EPA 200.8 | 2017/10/03 10:08:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 429045002 |  |  |  | MAO | [5 empty] | 1640424 | HARDNESS (AS CACO3) | 445 |  | TRG | Yes | Y |  |  |  | N |  | 10 | 10 | mg/l | mg/l
OUTFALL 002_2017/10/01_N_668 | EPA 200.8 | 2017/10/03 10:08:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 429045002 |  |  |  | MAO | [5 empty] | 7439-89-6 | IRON, FE | 0.572 |  | TRG | Yes | Y |  |  |  | N |  |  |  | mg/l
OUTFALL 002_2017/10/01_N_669 | EPA 200.8 | 2017/10/03 10:08:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 429045003 |  |  |  | MAO | [5 empty] | 7439-89-6 | IRON, FE | 0.572 |  | TRG | Yes | Y |  |  |  | N |  |  |  | mg/l
OUTFALL 002_2017/10/01_N_670 | EPA 200.8 | 2017/10/03 10:08:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 429045002 |  |  |  | MAO | [5 empty] | 7439-89-6 | IRON, FE | 0.572 |  | TRG | Yes | Y |  |  |  | N |  |  |  | mg/l
OUTFALL 002_2017/10/01_N_665 | EPA 1631 | 2017/10/03 10:08:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | SHEALY_WCOL | QUANT | 4 |  |  |  | MAO | [5 empty] | 7439-97-6 | MERCURY, HG | 0.848 |  | TRG | Yes | Y |  |  |  | N |  |  |  | ng/l
OUTFALL 002_2017/10/01_N_666 | EPA 1631 | 2017/10/03 10:08:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | SHEALY_WCOL | QUANT | 4 |  |  |  | MAO | [5 empty] | 7439-97-6 | MERCURY, HG | 0.848 |  | TRG | Yes | Y |  |  |  | N |  |  |  | ng/l
OUTFALL 002_2017/10/01_N_667 | EPA 1631 | 2017/10/03 10:08:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | SHEALY_WCOL | QUANT | 4 |  |  |  | MAO | [5 empty] | 7439-97-6 | MERCURY, HG | 0.848 |  | TRG | Yes | Y |  |  |  | N |  |  |  | ng/l
OUTFALL 002_2017/10/01_N_668 | EPA 1631 | 2017/10/03 10:08:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | SHEALY_WCOL | QUANT | 2 |  |  |  | AKT | [5 empty] | 7439-97-6 | MERCURY, HG | 0.692 |  | TRG | Yes | Y |  |  |  | N |  |  |  | ng/l
OUTFALL 002_2017/10/01_N_669 | EPA 1631 | 2017/10/03 10:08:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | SHEALY_WCOL | QUANT | 2 |  |  |  | AKT | [5 empty] | 7439-97-6 | MERCURY, HG | 0.692 |  | TRG | Yes | Y |  |  |  | N |  |  |  | ng/l
OUTFALL 002_2017/10/01_N_670 | EPA 1631 | 2017/10/03 10:08:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | SHEALY_WCOL | QUANT | 2 |  |  |  | AKT | [5 empty] | 7439-97-6 | MERCURY, HG | 0.692 |  | TRG | Yes | Y |  |  |  | N |  |  |  | ng/l
OUTFALL 002_2017/10/01_N_671 | EPA 1664B | 2017/10/03 12:00:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 4290450012 |  |  |  | MAO | [5 empty] | OIL-GRSE | Oil and Grease |  |  | TRG | Yes | N |  |  |  | N |  | 5 |  |  | mg/l |  | Not detected above the detection limit
OUTFALL 002_2017/10/01_N_672 | EPA 1664B | 2017/10/03 12:00:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 4290450012 |  |  |  | MAO | [5 empty] | OIL-GRSE | Oil and Grease |  |  | TRG | Yes | N |  |  |  | N |  | 5 |  |  | mg/l |  | Not detected above the detection limit
OUTFALL 002_2017/10/01_N_673 | EPA 1664B | 2017/10/03 12:00:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 4290450012 |  |  |  | MAO | [5 empty] | OIL-GRSE | Oil and Grease |  |  | TRG | Yes | N |  |  |  | N |  | 5 |  |  | mg/l |  | Not detected above the detection limit
OUTFALL 002_2017/10/01_N_662 | SM 2540D | 2017/10/02 12:25:00 | N | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 10474 |  |  |  | MAO | [5 empty] | TSS | RESIDUE, SUSPENDED (NONFILTERABLE) |  |  | TRG | Yes | N | U |  |  | N |  | 5 |  |  | mg/l |  | Not detected above the detection limit
OUTFALL 002_2017/10/01_N_663 | SM 2540D | 2017/10/02 12:25:00 | N | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 10474 |  |  |  | MAO | [5 empty] | TSS | RESIDUE, SUSPENDED (NONFILTERABLE) |  |  | TRG | Yes | N | U |  |  | N |  | 5 |  |  | mg/l |  | Not detected above the detection limit
OUTFALL 002_2017/10/01_N_664 | SM 2540D | 2017/10/02 12:25:00 | N | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 10474 |  |  |  | MAO | [5 empty] | TSS | RESIDUE, SUSPENDED (NONFILTERABLE) | 0 |  | TRG | Yes | N | U |  |  | N |  | 5 |  |  | mg/l |  | Not detected above the detection limit
OUTFALL 002_2017/10/01_N_668 | EPA 200.8 | 2017/10/03 10:08:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 429045002 |  |  |  | MAO | [5 empty] | 7782-49-2 | SELENIUM, SE | 1.5 |  | TRG | Yes | Y |  |  |  | N |  |  |  | ug/l
OUTFALL 002_2017/10/01_N_669 | EPA 200.8 | 2017/10/03 10:08:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 429045002 |  |  |  | MAO | [5 empty] | 7782-49-2 | SELENIUM, SE | 1.5 |  | TRG | Yes | Y |  |  |  | N |  |  |  | ug/l
OUTFALL 002_2017/10/01_N_670 | EPA 200.8 | 2017/10/03 10:08:00 | T | NA | INITIAL | WASTE | LB | WET |  | 1 |  |  |  |  | DUKE_HUNT | QUANT | 429045002 |  |  |  | MAO | [5 empty] | 7782-49-2 | SELENIUM, SE | 1.5 |  | TRG | Yes | Y |  |  |  | N |  |  |  | ug/l

## TestBatch_v1
#sys_sample_code | lab_anl_method_name | analysis_date | total_or_dissolved | column_number | test_type | test_batch_type | test_batch_id
OUTFALL 002_MONTHLY_N_662_JD | EPA 300.0 | 2017/10/02 12:25:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 002_MONTHLY_N_662_JD | EPA 9222D | 2017/10/02 12:25:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 002_MONTHLY_N_662_JD | SM 2540D | 2017/10/02 12:25:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 002_MONTHLY_N_662_JD | SM 5210B | 2017/10/02 12:25:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 002_MONTHLY_N_662_MAO | EPA 300.0 | 2017/10/02 12:25:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 002_MONTHLY_N_662_MAO | EPA 9222D | 2017/10/02 12:25:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 002_MONTHLY_N_662_MAO | SM 2540D | 2017/10/02 12:25:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 002_MONTHLY_N_662_MAO | SM 5210B | 2017/10/02 12:25:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 002_MONTHLY_N_662_SG | EPA 300.0 | 2017/10/02 12:25:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 002_MONTHLY_N_662_SG | EPA 9222D | 2017/10/02 12:25:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 002_MONTHLY_N_662_SG | SM 2540D | 2017/10/02 12:25:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 002_MONTHLY_N_662_SG | SM 5210B | 2017/10/02 12:25:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_2017/10/02_1031_N | FIELD | 2017/10/02 10:31:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_MONTHLY_FD_669_JD | EPA 1631 | 2017/10/03 10:08:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_MONTHLY_FD_669_MAO | EPA 1631 | 2017/10/03 10:08:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_MONTHLY_FD_669_SG | EPA 1631 | 2017/10/03 10:08:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_MONTHLY_N_663_JD | EPA 1631 | 2017/10/03 10:08:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_MONTHLY_N_663_JD | EPA 200.8 | 2017/10/03 10:08:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_MONTHLY_N_663_JD | EPA 200.8 | 2017/10/03 10:08:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_MONTHLY_N_663_JD | EPA 200.8 | 2017/10/03 10:08:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_MONTHLY_N_663_JD | EPA 200.8 | 2017/10/03 10:08:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_MONTHLY_N_663_JD | EPA 200.8 | 2017/10/03 10:08:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_MONTHLY_N_663_MAO | EPA 1631 | 2017/10/03 10:08:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_MONTHLY_N_663_MAO | EPA 200.8 | 2017/10/03 10:08:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_MONTHLY_N_663_MAO | EPA 200.8 | 2017/10/03 10:08:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_MONTHLY_N_663_MAO | EPA 200.8 | 2017/10/03 10:08:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_MONTHLY_N_663_MAO | EPA 200.8 | 2017/10/03 10:08:00 | NON | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_MONTHLY_N_663_MAO | EPA 200.8 | 2017/10/03 10:08:00 | NON | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_MONTHLY_N_663_SG | EPA 1631 | 2017/10/03 10:08:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_MONTHLY_N_663_SG | EPA 200.8 | 2017/10/03 10:08:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_MONTHLY_N_663_SG | EPA 200.8 | 2017/10/03 10:08:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_MONTHLY_N_663_SG | EPA 200.8 | 2017/10/03 10:08:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_MONTHLY_N_663_SG | EPA 200.8 | 2017/10/03 10:08:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 101_MONTHLY_N_663_SG | EPA 200.8 | 2017/10/03 10:08:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 102_2017/10/02_0953_N | FIELD | 2017/10/02 09:53:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 102_MONTHLY_N_664_JD | EPA 1664B | 2017/10/03 12:00:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 102_MONTHLY_N_664_MAO | EPA 1664B | 2017/10/03 12:00:00 | N | NA | INITIAL | Analysis | 6L06020
OUTFALL 102_MONTHLY_N_664_SG | EPA 1664B | 2017/10/03 12:00:00 | N | NA | INITIAL | Analysis | 6L06020