## Format Information
Key
Required
Lookup
Lookup And Required
Format Name: EFWEDD
Format Version: 2.05.58

## Custom Checks
Check Description | Section and Field
Date cannot precede sample_date. | EFW2LabRES.analysis_date EFW2LabTST.prep_date EFW2LabTST.analysis_date
This method will check the EFW2LabSMP Table to verify child rows. Parent rows for test/results are checked by default (Because of the xs:keyref) | EFW2LabSMP
Parent_sample_code is required if rt_sample_type.needs_parent_sample='Y'. | EFW2FSample.sample_type_code EFW2FSample.parent_sample_code EFW2LabSMP.sample_type_code EFW2LabSMP.parent_sample_code
Result_value is required where detect_flag=Y and result_type_code=TRG, TIC. | EFW2LabRES.result_value EFW2LabRES.detect_flag EFW2LabRES.result_type_code
Reporting_detection_limit cannot be null when detect_flag=N and result_type_code=TRG, TIC, or SC. | EFW2LabRES.reporting_detection_limit EFW2LabRES.detect_flag EFW2LabRES.result_type_code
sample_date cannot be null when when sample_type_code=TB, N, MB, FD, FB, EB, AB. | EFW2FSample.sample_type_code EFW2FSample.sample_date EFW2LabSMP.sample_type_code EFW2LabSMP.sample_date
Start_depth cannot be null when sample_matrix_code=SO or SE. | EFW2FSample.start_depth EFW2FSample.sample_matrix_code
If start_depth is not null, end_depth must be greater than start_depth. | EFW2FSample.start_depth EFW2FSample.end_depth
Lab_sample_id cannot be null when analysis_location=LB. | EFW2LabTST.lab_sample_id EFW2LabTST.analysis_location
Detection_limit_unit cannot be null when reporting_detection_limit is not null. | EFW2LabRES.reporting_detection_limit EFW2LabRES.detection_limit_unit
Percent_moisture is required where sample_matrix_code=SO or SE and sample_type_code is an N, 'FD', 'FR', 'FS', 'LR', 'MS', 'SD',' or MSD' and lab_matrix_code does not equal 'WL'. | EFW2LabTST.percent_moisture EFW2LabTST.lab_matrix_code EFW2FSample.sample_type_code EFW2FSample.sample_matrix_code
If subsample_amount is populated then subsample_amount_unit is required. | EFW2LabTST.subsample_amount EFW2LabTST.subsample_amount_unit

## EFW2FSample
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_sample_code | Text(40) | PK | Y |  |  |  | dt_sample.sys_sample_code | Unique sample identifier. Each sample, including field and laboratory QC samples, must have a unique value. Uniqueness throughout the database is a core restriction enforced by EQuIS.
sample_name | Text(50) | [5 empty] | dt_sample.sample_name | Additional sample identification information as necessary. Unlike the sys_sample_code, the sample_name is not required to be unique.
sample_matrix_code | Text(10) |  | Y |  |  | rt_matrix.matrix_code | rt_matrix.matrix_desc dt_sample.matrix_code | Code which distinguishes between different type of sample matrix. For example, soil samples must be distinguished from ground water samples. The matrix of the sample as analyzed may be different from the matrix of the sample as retrieved (e.g. leachates), therefore, this field is required at both the sample and test level. | Start_depth cannot be null when sample_matrix_code=SO or SE. Percent_moisture is required where sample_matrix_code=SO or SE and sample_type_code is an N, 'FD', 'FR', 'FS', 'LR', 'MS', 'SD',' or MSD' and lab_matrix_code does not equal 'WL'.
sample_type_code | Text(20) |  | Y |  |  | rt_sample_type.sample_type_code | rt_sample_type.sample_type_desc dt_sample.sample_type_code | Code which distinguishes between different types of samples. For example, normal field samples must be distinguished from field duplicate samples. | Parent_sample_code is required if rt_sample_type.needs_parent_sample='Y'. sample_date cannot be null when when sample_type_code=TB, N, MB, FD, FB, EB, AB. Percent_moisture is required where sample_matrix_code=SO or SE and sample_type_code is an N, 'FD', 'FR', 'FS', 'LR', 'MS', 'SD',' or MSD' and lab_matrix_code does not equal 'WL'.
sample_source | Text(10) |  | Y | Field |  | (Enumeration: ...) | dt_sample.sample_source | This field identifies where the sample came from, either Field or Lab.
parent_sample_code | Text(40) |  |  |  | EFW2FSample.sys_sample_code |  | dt_sample.parent_sample_code | The value of "sys_sample_code" that uniquely identifies the sample that was the source of this sample. For example, the value of this field for a duplicate sample would identify the normal sample of which this sample is a duplicate. Required in the laboratory EDD for all laboratory "clone" samples (e.g., spikes and duplicates). Field duplicates may be submitted blind to the laboratory, so this field is not required in the laboratory EDD for field "clones". Must be blank for samples which have no parent (e.g., normal field samples, LCS samples, method blanks, etc.). | Parent_sample_code is required if rt_sample_type.needs_parent_sample='Y'.
sample_delivery_group | Text(20) | [5 empty] | dt_sdg.sdg_name dt_field_sample.field_sdg | Sample delivery group as defined by project sampling plan.
sample_date | Date | [6 empty] | Date sample was collected in the field. Date information must be identical with the date from the AR/COC form. | sample_date cannot be null when when sample_type_code=TB, N, MB, FD, FB, EB, AB.
sample_time | Time | [6 empty] | Time sample was collected in the field. Time information must be identical with the date from the AR/COC form.
sys_loc_code | Text(20) | [5 empty] | dt_sample.sys_loc_code | Sample collection location. The SYS_LOC_CODE entered must be identical to the location in DT_LOCATION. If it is not, errors will occur during the commit process. (i.e. MW-1 is not the same as MW1)
start_depth | Numeric | [5 empty] | dt_sample.start_depth | Beginning depth (top) of soil sample. This is an optional field for the laboratory EDD unless otherwise specified by the project manager. | Start_depth cannot be null when sample_matrix_code=SO or SE. If start_depth is not null, end_depth must be greater than start_depth.
end_depth | Numeric | [5 empty] | dt_sample.end_depth | Ending depth (bottom) of soil sample. This is an optional field for the laboratory EDD unless otherwise specified by the project manager. | If start_depth is not null, end_depth must be greater than start_depth.
depth_unit | Text(15) |  |  |  |  | rt_unit.unit_code | dt_sample.depth_unit | Unit of measurement for the sample begin and end depths.
chain_of_custody | Text(40) | [5 empty] | dt_chain_of_custody.chain_of_custody dt_field_sample.chain_of_custody | Chain of custody identifier. A single sample may be assigned to only one chain of custody.
sent_to_lab_date | Date | [5 empty] | dt_field_sample.sent_to_lab_date | Date sample was sent to lab.
sample_receipt_date | Date | [6 empty] | Date that sample was received at laboratory.
sampler | Text(50) | [5 empty] | dt_field_sample.sampler | Name or initials of sampler.
sampling_company_code | Text(40) | [5 empty] | dt_field_sample.sampling_company_code | Name or initials of sampling company.
sampling_reason | Text(30) | [5 empty] | dt_field_sample.sampling_reason | Reason for collecting the sampling.
sampling_technique | Text(40) |  |  |  |  | rt_sample_method.method_code | dt_sample.sample_method | Sampling technique.
task_code | Text(40) | [5 empty] | dt_task.task_code dt_sample.task_code | Code used to identify the task under which the field sample was retrieved.
collection_quarter | Text(6) | [5 empty] | dt_field_sample.collection_quarter | Quarter of the year sample was collected (e.g., "1Q96").
composite_yn | Text(1) |  |  |  |  | (Enumeration: ...) | dt_field_sample.composite_yn | Indicate whether a sample is a composite sample.
composite_desc | Text(255) | [5 empty] | dt_field_sample.composite_desc | Description of composite sample (if composite_yn is YES).
sample_class | Text(10) | [5 empty] | dt_sample.sample_class | Sample class code, as defined by the project sampling plan.
custom_field_1 | Text(255) | [5 empty] | dt_sample.custom_field_1 | Custom sample field, use as defined by the project sampling plan.
custom_field_2 | Text(255) | [5 empty] | dt_sample.custom_field_2 | Custom sample field, use as defined by the project sampling plan.
custom_field_3 | Text(255) | [5 empty] | dt_sample.custom_field_3 | Custom sample field, use as defined by the project sampling plan.
comment | Text(2000) | [5 empty] | dt_sample.remark | Sample comments as necessary (optional).
sample_receipt_time | Time | [6 empty] | Time of lab receipt sample.
Method Mappings
|  |  |  | GetSampleDate |  |  | dt_sample.sample_date
|  |  |  | GetSampleReceiptDate |  |  | dt_field_sample.sample_receipt_date

## EFW2LabSMP
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_sample_code | Text(40) | PK | Y |  |  |  | dt_sample.sys_sample_code | Unique sample identifier. Each sample, including field and laboratory QC samples, must have a unique value. Uniqueness throughout the database is a core restriction enforced by EQuIS.
sample_type_code | Text(20) |  | Y |  |  | rt_sample_type.sample_type_code | rt_sample_type.sample_type_desc dt_sample.sample_type_code | Code which distinguishes between different types of samples. For example, normal field samples must be distinguished from field duplicate samples. | Parent_sample_code is required if rt_sample_type.needs_parent_sample='Y'. sample_date cannot be null when when sample_type_code=TB, N, MB, FD, FB, EB, AB.
sample_matrix_code | Text(10) |  | Y |  |  | rt_matrix.matrix_code | rt_matrix.matrix_desc dt_sample.matrix_code | Code which distinguishes between different type of sample matrix. For example, soil samples must be distinguished from ground water samples. The matrix of the sample as analyzed may be different from the matrix of the sample as retrieved (e.g. leachates), therefore, this field is required at both the sample and test level.
sample_source | Text(10) |  | Y | Lab |  | (Enumeration: ...) | dt_sample.sample_source | This field identifies where the sample came from, either Field or Lab.
parent_sample_code | Text(40) |  |  |  | EFW2LabSMP.sys_sample_code |  | dt_sample.parent_sample_code | The value of "sys_sample_code" that uniquely identifies the sample that was the source of this sample. For example, the value of this field for a duplicate sample would identify the normal sample of which this sample is a duplicate. Required in the laboratory EDD for all laboratory "clone" samples (e.g., spikes and duplicates). Field duplicates may be submitted blind to the laboratory, so this field is not required in the laboratory EDD for field "clones". Must be blank for samples which have no parent (e.g., normal field samples, LCS samples, method blanks, etc.). | Parent_sample_code is required if rt_sample_type.needs_parent_sample='Y'.
comment | Text(2000) | [5 empty] | dt_sample.remark | Custom sample field, use as defined by the project sampling plan.
sample_date | Date | [6 empty] | Date sample was collected in the field. Date information must be identical with the date from the AR/COC form. | sample_date cannot be null when when sample_type_code=TB, N, MB, FD, FB, EB, AB.
sample_time | Time | [6 empty] | Time sample was collected in the field. Time information must be identical with the date from the AR/COC form.
sample_receipt_date | Date | [6 empty] | Date that sample was received at laboratory.
sample_delivery_group | Text(20) | [5 empty] | dt_sdg.sdg_name dt_field_sample.field_sdg | Sample delivery group as defined by project sampling plan.
standard_solution_source | Text(20) | [5 empty] | dt_sample.lab_solution_source
sample_receipt_time | Time | [6 empty] | Time of lab receipt sample.
Section Checks
This method will check the EFW2LabSMP Table to verify child rows. Parent rows for test/results are checked by default (Because of the xs:keyref)
Method Mappings
|  |  |  | GetSampleDate |  |  | dt_sample.sample_date
|  |  |  | GetSampleReceiptDate |  |  | dt_field_sample.sample_receipt_date

## EFW2LabTST
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_sample_code | Text(40) | PK | Y |  | EFW2FSample.sys_sample_code EFW2LabSMP.sys_sample_code |  |  | Unique sample identifier. Each sample, including field and laboratory QC samples, must have a unique value. Uniqueness throughout the database is a core restriction enforced by EQuIS.
lab_anl_method_name | Text(20) | PK | Y |  |  | rt_analytic_method.analytic_method | dt_test.analytic_method | Laboratory analytic method name or description. A controlled vocabulary (i.e., list of valid method names).
analysis_date | Date | PK | Y |  |  |  |  | Date of sample analysis. May refer to either beginning or end of the analysis as required by sample plan. | Date cannot precede sample_date.
analysis_time | Time | PK | [5 empty] | Time of sample analysis. Time zone and daylight savings must be same as analysis_date.
total_or_dissolved | Text(10) | PK | Y | N |  | rt_fraction.fraction | dt_test.fraction | Result fraction specified in the sampling plan. For example, "T" for total concentration, "D" for dissolved concentration, or "N" for organic constituents the fraction is not applicable.
column_number | Text(2) | PK | Y | NA |  | (Enumeration: ...) | dt_test.column_number | Must be either "1C" for first column analyses, "2C" for second column analyses, or "NA" for analyses for which neither "1C" nor "2C" is applicable. Second column data may not be required, depending on the needs identified by the project manager, in which case all results may be reported as "NA". However, if any "2C" tests are reported, then there must be corresponding "1C" tests present also. Also, laboratories typically can report which of the two columns is to be considered "primary". This distinction is handled by the "reportable_result" field in the result table.
test_type | Text(10) | PK | Y |  |  | rt_test_type.test_type | dt_test.test_type | Type of test in the laboratory. This field is used to distinguish between initial runs, re-extractions, reanalysis and dilutions.
lab_matrix_code | Text(10) |  |  |  |  | rt_matrix.matrix_code | rt_matrix.matrix_desc dt_test.lab_matrix_code | Code which describes the matrix as analyzed by the lab. May differ from sample_matrix_code. | Percent_moisture is required where sample_matrix_code=SO or SE and sample_type_code is an N, 'FD', 'FR', 'FS', 'LR', 'MS', 'SD',' or MSD' and lab_matrix_code does not equal 'WL'.
analysis_location | Text(2) |  | Y |  |  | (Enumeration: ...) | dt_test.analysis_location | Note where was sample analyzed. FL for mobile Field Laboratory analysis, LB for fixed_Based Laboratory analysis or FI for Field Instrument. | Lab_sample_id cannot be null when analysis_location=LB.
basis | Text(10) |  |  |  |  | (Enumeration: ...) | dt_test.basis | Must be either Wet for wet_weight basis reporting, Dry for dry_weight basis reporting, or null for tests for which this distinction is not applicable.
container_id | Text(30) | [5 empty] | dt_test.container_id | Sample container identifier. This is an optional field for the laboratory EDD unless otherwise specified by the project manager.
dilution_factor | Numeric | [5 empty] | dt_test.dilution_factor | Dilution factor at which the analyte was measured effectively. Enter "1" if not diluted.
lab_prep_method_name | Text(20) |  |  |  |  | rt_prep_method.prep_method | dt_test.prep_method | Laboratory sample preparation method code. A controlled vocabulary.
prep_date | Date | [6 empty] | Date sample preparation. | Date cannot precede sample_date.
prep_time | Time | [6 empty] | Time sample preparation. Time zone and daylight savings must be same as analysis_date.
leachate_method | Text(15) | [5 empty] | dt_test.leachate_method | Laboratory leachate generation method name or description. A controlled vocabulary (i.e., list of valid method names) is not required for the laboratory EDD unless otherwise specified by the project manager. The method name should be sufficient to reflect operation of the laboratory.
leachate_date | Date | [6 empty] | Date of leachate preparation.
leachate_time | Time | [6 empty] | Time of leachate preparation. Time zone and daylight savings must be same as analysis_date.
lab_name_code | Text(40) |  | Y |  |  | rt_company.company_code | rt_company.company_name dt_test.lab_name_code | Unique identifier of the laboratory.
qc_level | Text(10) | [5 empty] | dt_test.qc_level | Quality control level of analysis. May be either screen or definitive.
lab_sample_id | Text(40) | [5 empty] | dt_test.lab_sample_id | Laboratory LIMS sample identifier. If necessary, a field sample may have more than one LIMS lab_sample_id (maximum one per each test event). | Lab_sample_id cannot be null when analysis_location=LB.
percent_moisture | Text(5) | [5 empty] | dt_test.percent_moisture | Percent moisture of the sample portion used in this test; this value may vary from test to test for any sample. Report 70.1% as 70.1 not as 70.1%. | Percent_moisture is required where sample_matrix_code=SO or SE and sample_type_code is an N, 'FD', 'FR', 'FS', 'LR', 'MS', 'SD',' or MSD' and lab_matrix_code does not equal 'WL'.
subsample_amount | Text(14) | [5 empty] | dt_test.subsample_amount | Amount of sample used for test. | If subsample_amount is populated then subsample_amount_unit is required.
subsample_amount_unit | Text(15) |  |  |  |  | rt_unit.unit_code | dt_test.subsample_amount_unit | Unit of measurement for subsample amount. | If subsample_amount is populated then subsample_amount_unit is required.
analyst_name | Text(50) | [5 empty] | dt_test.analyst_name | Name or initials of laboratory analyst.
instrument_id | Text(60) | [5 empty] | dt_test.instrument_id | Instrument identifier.
comment | Text(2000) | [5 empty] | dt_test.remark | Comments about the test as necessary. Custom sample field, use as defined by the project sampling plan.
preservative | Text(20) |  |  |  |  | rt_preservative.preservative | dt_test.preservative | Sample preservative used.
final_volume | Text(15) | [5 empty] | dt_test.final_volume | The final volume of the sample after sample preparation. Include all dilution factors.
final_volume_unit | Text(15) |  |  |  |  | rt_unit.unit_code | dt_test.final_volume_unit | The unit of measure that corresponds to the final_volume.
lab_SDG | Text(20) | [5 empty] | dt_sdg.sdg_name dt_test.lab_SDG | Sample delivery group as defined by the laboratory.
preservative_date | DateTime | [5 empty] | dt_test.preservative_date | Date preservative added to sample.
Method Mappings
|  |  |  | CompanyType_LAB |  |  | rt_company.company_type
|  |  |  | GetSampleId |  |  | dt_test.sample_id
|  |  |  | GetAnalysisDate |  |  | dt_test.analysis_date
|  |  |  | GetPrepDate |  |  | dt_test.prep_date
|  |  |  | GetLeachateDate |  |  | dt_test.leachate_date

## EFW2LabRES
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_sample_code | Text(40) | PK | Y |  | EFW2LabTST.sys_sample_code EFW2LabSMP.sys_sample_code |  |  | Unique sample identifier. Each sample, including field and laboratory QC samples, must have a unique value. Uniqueness throughout the database is a core restriction enforced by EQuIS.
lab_anl_method_name | Text(20) | PK | Y |  | EFW2LabTST.lab_anl_method_name | rt_analytic_method.analytic_method |  | Laboratory analytic method name or description. A controlled vocabulary (i.e., list of valid method names).
analysis_date | Date | PK |  |  | EFW2LabTST.analysis_date |  |  | Date of sample analysis. May refer to either beginning or end of the analysis as required by sample plan. | Date cannot precede sample_date.
analysis_time | Time | PK |  |  | EFW2LabTST.analysis_time |  |  | Time of sample analysis. Time zone and daylight savings must be same as analysis_date.
total_or_dissolved | Text(10) | PK |  | N | EFW2LabTST.total_or_dissolved | rt_fraction.fraction |  | Result fraction specified in the sampling plan. For example, "T" for total concentration, "D" for dissolved concentration, or "N" for organic constituents the fraction is not applicable.
column_number | Text(2) | PK | Y | NA | EFW2LabTST.column_number | (Enumeration: ...) |  | Must be either "1C" for first column analyses, "2C" for second column analyses, or "NA" for analyses for which neither "1C" nor "2C" is applicable. Second column data may not be required, depending on the needs identified by the project manager, in which case all results may be reported as "NA". However, if any "2C" tests are reported, then there must be corresponding "1C" tests present also. Also, laboratories typically can report which of the two columns is to be considered "primary". This distinction is handled by the "reportable_result" field in the result table.
test_type | Text(10) | PK |  | Initial | EFW2LabTST.test_type | rt_test_type.test_type |  | Type of test in the laboratory. This field is used to distinguish between initial runs, re-extractions, reanalysis and dilutions.
cas_rn | Text(15) | PK | Y |  |  | rt_analyte.cas_rn | dt_result.cas_rn dt_result_qc.cas_rn | Cas Number as specified in the project sampling plan.
chemical_name | Text(255) |  | Y |  |  |  | rt_analyte.chemical_name | Chemical Name as specified in the project sampling plan.
result_value | Numeric | [5 empty] | dt_result.result_text dt_result.result_numeric | Result value representing the appropriate number of significant digits per project manager request. | Result_value is required where detect_flag=Y and result_type_code=TRG, TIC.
result_error_delta | Text(20) | [5 empty] | dt_result.result_error_delta | Error range applicable to the result value; typically used only for radiochemistry results.
result_type_code | Text(10) |  | Y |  |  | rt_result_type.result_type_code | dt_result.result_type_code | Must be either TRG for a target or regular result, TIC for tentatively identified compounds, SUR for surrogates, IS for internal standards, or SC for spiked compounds. | Result_value is required where detect_flag=Y and result_type_code=TRG, TIC. Reporting_detection_limit cannot be null when detect_flag=N and result_type_code=TRG, TIC, or SC.
reportable_result | Text(10) |  | Y |  |  | (Enumeration: ...) | dt_result.reportable_result | Must be Yes for results considered to be reportable, or No for other results.
detect_flag | Text(2) |  | Y |  |  | (Enumeration: ...) | dt_result.detect_flag | May be either Y for detected analytes or N for non_detects. | Result_value is required where detect_flag=Y and result_type_code=TRG, TIC. Reporting_detection_limit cannot be null when detect_flag=N and result_type_code=TRG, TIC, or SC.
lab_qualifiers | Text(20) | [5 empty] | dt_result.lab_qualifiers | Qualifier flags assigned by the laboratory.
organic_yn | Text(2) |  |  | Y |  | (Enumeration: ...) |  | Must be either Y for organic constituents or N for inorganic constituents.
method_detection_limit | Text(20) | [5 empty] | dt_result.method_detection_limit | The Method Detection Limit (MDL) is defined by the US Environmental Protection Agency as the minimum measured concentration of a substance that can be reported with 99% confidence that the measured concentration is distinguishable from method blank results.
reporting_detection_limit | Numeric | [5 empty] | dt_result.reporting_detection_limit | The Reporting Detection Limit (RDL) is the customer-specified lowest concentration value that meets project requirements for a specific analyte in a specific matrix. The RDL is typically set to equal the value that a not-detected result would be reported to. In some cases, the RDL may be the MDL or may be the QL. In other cases, the RDL may be a project-specific value. | Reporting_detection_limit cannot be null when detect_flag=N and result_type_code=TRG, TIC, or SC. Detection_limit_unit cannot be null when reporting_detection_limit is not null.
quantitation_limit | Text(20) | [5 empty] | dt_result.quantitation_limit | The Quantitation Limit (QL), also known as the Practical Quantitation Limit (PQL) or Limit of Quantitation (LOQ) is defined in the US Department of Defense Quality System Manual as the smallest concentration that produces a quantitative result with known and recorded precision and bias, typically set by the analytical laboratory at or above the lowest initial calibration standard and within the calibration range.
result_unit | Text(15) |  | Y |  |  | rt_unit.unit_code | dt_result.result_unit | Units of measurement for the result unit. This field is required if a result_value is reported.
detection_limit_unit | Text(15) |  |  |  |  | rt_unit.unit_code | dt_result.detection_limit_unit | Units of measurement for the detection limit(s). This field is required if a reporting_detection_limit is reported. | Detection_limit_unit cannot be null when reporting_detection_limit is not null.
tic_retention_time | Text(8) | [5 empty] | dt_result.tic_retention_time | TIC Retention Time (##:##:##).
result_comment | Text(2000) | [5 empty] | dt_result.remark | Result specific comments.
qc_original_conc | Text(14) | [5 empty] | dt_result_qc.qc_original_conc | The concentration of the analyte in the original (unspiked) sample. Might be required for spikes and spike duplicates (depending on user needs). Not necessary for surrogate compounds or LCS samples where the original concentration is assumed to be zero.
qc_spike_added | Text(14) | [5 empty] | dt_result_qc.qc_spike_added | The concentration of the analyte added to the original sample. Might be required for spikes, surrogate compounds, LCS and any spiked sample (depending on user needs).
qc_spike_measured | Text(14) | [5 empty] | dt_result_qc.qc_spike_measured | The measured concentration of the analyte. Use zero for spiked compounds that were not detected in the sample. Might be required for spikes, spike duplicates, surrogate compounds, LCS and any spiked sample (depending on user needs).
qc_spike_recovery | Text(14) | [5 empty] | dt_result_qc.qc_spike_recovery | The percent recovery calculated as specified by the laboratory QC program. Always required for spikes, spike duplicates, surrogate compounds, LCS and any spiked sample. Report as percentage multiplied by 100 (e.g., report 120% as 120).
qc_dup_original_conc | Text(14) | [5 empty] | dt_result_qc.qc_dup_original_conc | The concentration of the analyte in the original (unspiked) sample. May be required for spike or LCS duplicates only (depending on user needs). Not necessary for surrogate compounds or LCS samples (where the original concentration is assumed to be zero).
qc_dup_spike_added | Text(14) | [5 empty] | dt_result_qc.qc_dup_spike_added | The concentration of the analyte added to the duplicate sample. Might be required for spike or LCS duplicates, surrogate compounds, and any spiked and duplicated sample (depending on user needs).
qc_dup_spike_measured | Text(14) | [5 empty] | dt_result_qc.qc_dup_spike_measured | The measured concentration of the analyte in the duplicate. Use zero for spiked compounds that were not detected in the sample. Might be required for spike and LCS duplicates, surrogate compounds, and any other spiked and duplicated sample.
qc_dup_spike_recovery | Text(14) | [5 empty] | dt_result_qc.qc_dup_spike_recovery | The duplicate percent recovery calculated as specified by the laboratory QC program. Always required for spike or LCS duplicates, surrogate compounds, and any other spiked and duplicated sample. Report as percentage multiplied by 100 (e.g., 50% as 50).
qc_rpd | Text(14) | [5 empty] | dt_result_qc.qc_rpd | The relative percent difference calculated as specified by the laboratory QC program. Required for duplicate samples as appropriate. Report as percentage multiplied by 100 (e.g., report 30% as 30).
qc_spike_lcl | Text(14) | [5 empty] | dt_result_qc.qc_spike_lcl | Lower control limit for spike recovery. Required for spikes, spike duplicates, surrogate compounds, LCS and any spiked sample. Report as percentage multiplied by 100 (e.g., report 60% as 60).
qc_spike_ucl | Text(14) | [5 empty] | dt_result_qc.qc_spike_ucl | Upper control limit for spike recovery. Required for spikes, spike duplicates, surrogate compounds, LCS and any spiked sample. Report as percentage multiplied by 100 (e.g., report 120% as 120).
qc_rpd_cl | Text(14) | [5 empty] | dt_result_qc.qc_rpd_cl | Relative percent difference control limit. Required for any duplicated sample. Report as percentage multiplied by 100 (e.g., report 25% as 25).
qc_spike_status | Text(10) | [5 empty] | dt_result_qc.qc_spike_status | Used to indicate whether the spike recovery was within control limits. Use the * character to indicate failure, otherwise leave blank. Required for spikes, spike duplicates, surrogate compounds, LCS and any spiked sample.
qc_dup_spike_status | Text(10) | [5 empty] | dt_result_qc.qc_dup_spike_status | Used to indicate whether the duplicate spike recovery was within control limits. Use the * character to indicate failure, otherwise leave blank. Required for any spiked and duplicated sample.
qc_rpd_status | Text(10) | [5 empty] | dt_result_qc.qc_rpd_status | Used to indicate whether the relative percent difference was within control limits. Use the * character to indicate failure, otherwise leave blank. Required for any duplicated sample.
qc_rsd | Text(14) | [5 empty] | dt_result_qc.qc_rsd | the Relative Standard deviation calculated as specified by the laboratory QC program.required for assessing precision in instances that more than two samples are collected and/or analyzed. Report as percentage multiplied by 100 (e.g., report '120%' as '120')
Method Mappings
|  |  |  | GetTestID |  |  | dt_result.test_id
|  |  |  | GetTestID |  |  | dt_result_qc.test_id

## EFW2LabBCH
Field Name | Data Type | Key | Required | Default | Parent | Lookup | Database Mapping(s) | Comment | Checks
sys_sample_code | Text(40) | PK | Y |  | EFW2LabTST.sys_sample_code |  |  | Unique sample identifier. Each sample, including field and laboratory QC samples, must have a unique value. Uniqueness throughout the database is a core restriction enforced by EQuIS.
lab_anl_method_name | Text(20) | PK | Y |  | EFW2LabTST.lab_anl_method_name | rt_analytic_method.analytic_method |  | Laboratory analytic method name or description. A controlled vocabulary (i.e., list of valid method names).
analysis_date | Date | PK |  |  | EFW2LabTST.analysis_date |  |  | Date of sample analysis. May refer to either beginning or end of the analysis as required by sample plan.
analysis_time | Time | PK |  |  | EFW2LabTST.analysis_time |  |  | Time of sample analysis. Time zone and daylight savings must be same as analysis_date.
total_or_dissolved | Text(10) | PK |  | N | EFW2LabTST.total_or_dissolved | rt_fraction.fraction |  | Result fraction specified in the sampling plan. For example, "T" for total concentration, "D" for dissolved concentration, or "N" for organic constituents the fraction is not applicable.
column_number | Text(2) | PK | Y | NA | EFW2LabTST.column_number | (Enumeration: ...) |  | Must be either "1C" for first column analyses, "2C" for second column analyses, or "NA" for analyses for which neither "1C" nor "2C" is applicable. Second column data may not be required, depending on the needs identified by the project manager, in which case all results may be reported as "NA". However, if any "2C" tests are reported, then there must be corresponding "1C" tests present also. Also, laboratories typically can report which of the two columns is to be considered "primary". This distinction is handled by the "reportable_result" field in the result table.
test_type | Text(20) | PK |  | Initial | EFW2LabTST.test_type | rt_test_type.test_type |  | Type of test in the laboratory. This field is used to distinguish between initial runs, re-extractions, reanalysis and dilutions.
test_batch_type | Text(10) | PK | Y | PREP |  | rt_test_batch_type.test_batch_type | rt_test_batch_type.test_batch_desc dt_test_batch.test_batch_type at_test_batch_assign.test_batch_type | Lab Batch type.
test_batch_id | Text(20) |  | Y |  |  |  | dt_test_batch.test_batch_id at_test_batch_assign.test_batch_id | Unique identifier for all lab batches.
Method Mappings
|  |  |  | GetTestID |  |  | at_test_batch_assign.test_id

## Enumerations (hidden)
EFW2FSample.sample_source | EFW2FSample.composite_yn | EFW2LabSMP.sample_source | EFW2LabTST.column_number | EFW2LabTST.analysis_location | EFW2LabTST.basis | EFW2LabRES.column_number | EFW2LabRES.reportable_result | EFW2LabRES.detect_flag | EFW2LabRES.organic_yn | EFW2LabBCH.column_number
Field | Y | Field | 1C | FL | Wet | 1C | Yes | Y | Y | 1C
Lab | N | Lab | 2C | LB | WET | 2C | No | N | N | 2C
|  |  | NA | FI | Dry | NA | Y | TR |  | NA
[5 empty] | DRY |  | N
NA